PLAYGROUND EQUIPMENT & RESILIENT SURFACING

ACCESSIBILITY STANDARDS AND GUIDELINES

** ADA  ** ASTM ** IPEMA

TIMEFRAME – 75 minutes

- 5		Introduction/overview of the key Regulatory Groups

- 5		Safety Regulations – Equipment & Surfacing

- 45		ADA Regulations – Equipment & Surfacing

- 15		Operation of Rotational Penetrometer & Digital Levels

- 5		Questions & Answers

MODALITY:

- PowerPoint Slide Show/Lecture/Hands-on Equipment use

- Technical data, references, statistics – resource identification

- Questions, answers and discussion time allotted

DESCRIPTION:  We will review the major regulatory groups who create, modify, update, and at times, enforce playground accessibility standards and/or guidelines.  These groups include the U.S. Consumer Product Safety Commission (CPSC), American Society for Testing and Materials (ASTM), and ADA regulations, which are a product of the U.S. Department of Justice’s Access Board.

- Accessibility Standards can (and should) be measured in the Field following installation to ensure that all required Performance Specifications have been met.  Attendees receive Hands-on on experience handling various Testing devices, such as Digital Levels and the Rotational Penetrometer – which tests a surface’s firmness and stability.

NEEDS IDENTIFICATION:  Playground regulations are everywhere.  In many cases there are differences in interpretation as well as in enforcement.  Whether you are addressing a playground for a (public or private) school, park or childcare facility, it’s critical to understand who these regulatory groups are…and begin to understand them, as well as how to get the most up-to-date information.  The Safety and ADA regulations address just about any “place of public accommodation”. It’s critical to know that these regulations are part of everyday life. Is your Facility a Tittle II or Title III program?

Participants will:

- Obtain working knowledge of who the primary Safety and Accessibility regulatory groups are comprised of regarding playground surfacing and equipment - and where to obtain these documents.

- Accessibility - Understand technical design requirements including, Transfer Systems, Ramps and Ground Level activities and firm/stable/slip resistant surfacing.

- Understand technical requirements for using electronic testing probes to comply with Accessibility Standards.

- Operational knowledge on the proper procedures to operate a Rotational Penetrometer device - and how to verify Bid Specifications were followed.

John LaRue has been in the playground industry since 1991; holds Bachelor and Master degrees in Therapeutic Recreation - Is a Certified Therapeutic Recreation Specialist (CTRS), a Certified Playground Safety Inspector (CPSI) and Certified TRIAX Inspector. John first held the role as a CEU Provider with the ASLA in 2001. John has been presented over 100 times regionally and nationally. John was part of the 3-Person team that created the Guide to Accessibility Guidelines for Play Areas and is a voting Member with several ASTM regulatory groups.